## Slide 1
EPDCL Survey App Tutorial

## Slide 2: How to Download ?
Download Survey Lite (EPDCL) App
from Play store
Note : Allow all the Permissions while installing

## Slide 3
Survey Lite App Login Page
Enter the credentials provided to the user.

## Slide 4
After logging in, a dashboard and the assigned feeders will be visible.
Click on Pending Surveys to start uploading the points.
Dashboard Of Survey Lite App

## Slide 5
Pending surveys
In this page, you will find the list of feeders Assigned to Users Click on Start Survey to upload points on a newly assigned feeder.
Once a survey is started, user will get Resume Survey.
Once a feeder is complete, the end survey option moves the feeder from pending surveys onto the completed surveys.

## Slide 6
How to add DTR POINT
Capture Location of DTR in Map View
Upload the Image of DTR Sticker
Click on +
Select the Point type as DTR
Enter DTR Serial Number
Fill the Details on DTR Sticker and stick to the Pole & stick protective sticker above DTR sticker.

## Slide 7
Check the Signal Strength
Upload the DTR Serial no and images up to 4 Images
Check the Captured location of DTR
DTR Mapping and Images

## Slide 8
Select Capacity of DTR from the dropdown list
Write the Remarks of DTR Condition
DTR Questionnaire

## Slide 9
DTR Questionnaire
Is there an Existing meter installed at location please Click on Yes/No
If you click on ‘No’
Select the size of the pole
If you click on ‘Yes’
Enter the DTR Make and Serial No
Click on Existing Meter type

## Slide 10
DTR Questionnire
Enter the Equipment Number & DTR Make
Enter Serial no of the DTR
Click on Toggle button LT,HT & AB switch
Select the Pole size from the dropdown list
Scan the QR Code of DTR sticker which filled with DTR information
Once the DTR QR is scanned the DTR point information is saved successfully.

## Slide 11
How to add Service Connection Point
Select Point type as Service Connection
Select Backlink Point as DTR
Check Backlink point DTR that is associated with the service (note: Check the point correctly to avoid accuracy issues)

## Slide 12
Upload the image of Service connection Sticker
Fill the Details on Service QR Sticker and stick to the Pole & stick Weather protection seal above Service connection sticker.
Upload minimum 2 images Of Borewell pipes, Motor & Starter Panel.
Check the Service connection map view Location
Check the Accuracy below 40 meters
Check the Signal strength
Service Connection Mapping with Images

## Slide 13
Select on the Motor Status
Select the Motor Capacity from the Dropdown list
User must Click On MASTER SYNC (top right) to view the LT distribution Area from the Dropdown list
Service Connection Questionnaire

## Slide 14
Select Authorization type
Select Yes/No for Is meter already installed ? and Do you know the USC number?
Here are the meter no. Details with linked USC numbers
Here is the dropdown menu of all the Sc numbers in the selected LT area
Service Connection Questionnaire

## Slide 15
Scan the QR Code Of service connection
Verify the Details of Farmer and enter them in the boxes.
Point Information will be saved Successfully
Select the Size of the Pole from the dropdown List.
If there is an LT or LT-CT meter present, the user must enter the details and capture the image
Service Connection Questionnaire

## Slide 16
Check the Points Captured
Note : Don’t Click on End survey until feeder is completed.
Once the feeder is completed, you can end survey.
Upload the points Daily without any fail

## Slide 17
Check the All-Uploaded Points while Adding the points

## Slide 18
Thank you!!
Happy surveying!!